## Slide 1: Dynamic Line Rating without field devices
David Carnicero Príncipe Director: Jesús Varela Sanz Co-director: Matteo Troncia
2nd of July 2024

## Slide 2: Index
Context
Motivation
Objectives
Work State
Program

## Slide 3: Line Rating
Technical Brochures: Guide for thermal rating calculations of overhead lines
Standard for Calculating the Current-Temperature Relationship of Bare Overhead Conductors
Ambient Temperature
Wind Speed
Wind Direction
Solar Radiation

## Slide 4: Static Line Rating
Dynamic Line Rating
Link Proyecto Línea Media Tensión

## Slide 5: Motivation
Thesis Approach
Third Parties Weather Data
No Equipmnet Needed
Suitable For The Operator
High Cost
Slow and Complex Instalaton
Unusable for the Operator
Conexión Lost
Current State

## Slide 6: Objectives
Weather MeasurementAccurracy
DLR Equations Inputs
Results
for Grid Operation

## Slide 7: Weather Measurement Accurracy
Objectives
Field Devices Accurracy
Providers Data Accurracy
Wind Accurracy
  Height
  Orography
  Vegetation
  Season of the Year

## Slide 9: DLR Equations Inputs
Influence
Wind Speed
Wind Direction
Ambient Temperature
Solar Radiation
Input

## Slide 10: Results for Grid Operation
Thesis DLR Output
Actual DLR Output
Unstable Current Rating
Not Used
Stable Current Rating
Weather Forecasting

## Slide 11: Project Plan
Parametrize All Lines
Weather and Results
Comparison
Provider Weather Data
Import
Standard
Formulas
01
04
02
03
05
Stabilize
DLR Output

## Slide 12: Parametrize All Lines
Line ID
Span ID
Coordinates
Conductor Type
CURRENT PROGRESS

## Slide 13: Get Weather Data from Providers
CURRENT PROGRESS
MeteoFlow

## Slide 14: NEXT STEPS
Stabilize the Output
Grid Operator Needs
Thermal Inertia (τ = 10-20min)
Accurracy Comparison
Comparison with Field Devices
Comparison between Providers
Weather and Results Comparison

## Slide 15: Dynamic Line Rating without field devices
David Carnicero Príncipe Director: Jesús Varela Sanz Co-director: Matteo Troncia
2nd of July 2024